Electrical stimulation to treat retinitis pigmentosa – results from a first randomized controlled pilot study

PD Dr. Florian Gekeler

Centre for Ophthalmology

University Eye Hospital

University of Tübingen

Tübingen, Germany

For several years transcorneal electrical stimulation (TES) with weak currents has been propagated to treat retinal degenerative diseases, most prominently retinitis pigmentosa (RP). The effect of TES has been attributed to the release of various neuro-protective factors. However, until recently no controlled studies have been available.

We have therefore conducted a first prospective, randomized, and controlled pilot study (Schatz et al., IOVS 2011). In this study 24 patients with RP were stimulated weekly for six consecutive weeks using DTL electrodes; duration was 30 minutes each week, frequency was 20 Hz. Patients were randomly assigned to one of three groups: 150%, 66%, or 0% (=sham) of their individual phosphene threshold for electrically evoked phosphenes at 20 Hz. Safety and efficacy were assessed at 5 scheduled visits, including quality of life, visual acuity, extended ISCEV ERG (ganzfeld and mf), rod and cone threshold, static and kinetic visual field. – TES was found safe, adverse events were symptoms of dry eye in two cases, which resolved quickly after application of lubricant eye drops. No serious adverse events were found. Most parameters improved or stabilized, only two parameters worsened, however not significantly. Visual field area increased significantly (p>0.001) by 17% (Goldmann III/IVe) in the subgroup of 8 patients which were stimulated with 150% current of their individual phosphene threshold; amplitudes of the scotopic b-wave amplitude increased also significantly in these patients. No significant effects were seen in the subgroups with sham stimulation and 66% stimulation (both n=8).

The results of the first study in TES following principles of good clinical practice in RP are favorable. However, duration of the study and the number of participants was too small to draw definitive conclusions. Therefore, studies with longer duration and more participants are currently under way to answer the remaining questions.